## Slide 1
ASIL Infrastructure – February ‘19 Bart Moens – Bart.moens@ugent.be – 07/02/2018

## Slide 2: Do Tank Series
Lots of technology => steep learning curve. Therefore: do tanks!
Get a better understanding of the lab and its infrastructure
Provide knowledge how to conceptualize and conduct our experiments
Learning the skills to experiment in the lab
4 different sessions:
  Friday 15/2 - 1PM @ ASIL Labs:
    main concepts and ideas behind the lab
    technological overview of the installed systems
    hands-on session to get you started with the basics
  Wednesday 20/2 - 10AM @ ASIL Labs
    technical tour
  Wednesday 20/2 - 1PM & Thursday 21/2 @ 1PM (instead of 10)
    hands on session.
  Friday 22/2 - 1 PM @ ASIL Labs
    Presentation about the advanced topics
    Feedback of the hands-on sessions
Will be planned on regular basis and on-demand to keep you updated

## Slide 3: About this presentation...
The lab is a work in progress...
So is this presentation & the information
The presentation is a ‘reference’ and documentation for the labs
Some features are still in develment
Marked yellow in this presentation
Presentation and documenation can be downloaded at https://github.com/ArtScienceLab (Lab Documentation)
Also; my spelling check doesn’t work.

## Slide 4: Contents
PART 1: Introduction
PART 2: Practical arrangements
  Layout of the Krook -2
  Bookings & CMS
  Partners & arrangements: IDLab, IMEC, MICT
  Lab Rules
  Practicalities & Documentation
PART 3: Basic topics
  Patching panels
  KVM network: computers, screens, mobile desk
  DANTE audio
  The RACK: “sensor & audio connections”
  Motion capture system
  Synchronisation
  Storage & Data Processing
PART 4: Basic usecases & practice
  Presenting in the lab
  Playing back audio & audio recording
  Synchronous mocap & audio recording
  Getting data to your own computer
PART 5: Advanced topics
  Central data storage
  Electricity
  Machineroom
  IP network
  Speaker installation
  3D processor IOSONO & Ambisonics
  EEG
  DMX Lights
  Trussing
  Secondary Mocap
  Projection screen
  VR installation
PART 6: Usecases & Examples
  Connecting laptop for presentation+audio
  Basic audio input / output recording
  Connecting mocap to 3D system
APPENDIX: Documentation
  Central documentation hub
  Schematics
  Cable management

## Slide 5: Introduction
ASIL = Art Science Interaction Lab
Multi-purpose room to encompass different experiments from all partners
This implies quite a few things:
  Easy to setup & breakdown experiments
  Fast to switch setups
  Minimalistic
  High usability
  No compromises in features/technologies
Lab design tries to fit all technologies as a puzzle while keeping this in mind
Goal of ASIL: integrate state-of-the-art technologies to bring context to experiments and performances
Notes: Culture

## Slide 6: What is context?
Typical motion laboratories are ‘dry’
Results are difficult to apply in real world scenarios
Participants are influenced by this
Immersive lab to emulate scenario’s
  Performances
  Theatre
  Musea
  Architecture
  New contexts
  ...

## Slide 7: How to deliver context? Technology
62-speaker setup, audio over IP
  IPEM
Interactivity / sensors
  IPEM
Qualisis mocap system
  IDLab
Projection system
  IDLab
VR/AR system
  IDLab
Eye Tracking, EEG
  IPEM, MICT
Central Data Storage
  IDLab

## Slide 8: Creating auditory context: Audio rendering technologies
Wavefield Synthesis Higher order ambisonics Auralisation
Creating different audio scenarios requires acoustically non-reverberant room.
Localised 3D audio
Performance oriented 3D audio
Different acoustical settings (church, halls, room, ...)

## Slide 9: Creating auditory context: Audio rendering technologies
Auralisation software which will be upscaled to simulate room in room (not only headphones)
Simulate spaces (church, room, temple...)

## Slide 10: Creating visual context: Video technologies
Projection system Virtual reality Augmented reality
(summer ‘19)
Provide context to groups
Provide individual contexts
Adding information to real-world

## Slide 11: Scientific context: Measuring technologies
Motion capture to track movement
  How do people move & interact?
Different & custom sensors (eg on bikes, balance boards, etc)
  More detailled body movement
Eye tracking
  Getting to know the center of their focus
EEG
  Whats going on in the brain?

## Slide 12: Social context: Upscaling from individual experiments
Study group interaction with and within context
Large area in lab accommodates groups
Audio system provides stimuli for entire group
Motion capture allows to track 8+ participants
Combining technologies generates group VR/AR experiences
Groups can be a bunch of random people, a band, a tour group for a museum, ....
Location in the Krook adequate for finding participants

## Slide 13: The power of the lab Combining all technologies allows us to create diverse immersive scenarios
Study group interaction, eg on festivals
Emulating acoustics of a temple
Testing gallery ideas or audience study
Having a band play in different locations
Interactive paintings or
behaviour study
Group interaction

## Slide 14: Usability of the lab
Designed to quickly change setups
Flexible: trussing system, everything on wheels, inter-lab compatibility
Open-source ideology: download specs of the lab online
Following the new GDPR EU rules for data management
Separate room for sensitive or loud equipment/pc’s
Frequent workshops & training sessions
Technical supervision & maintenance

## Slide 15: Extending beyond the lab
iTower Zwijnaarde
UGhent Fiber ring
De Vooruit
Wintercircus
Minard
URGent Radio studio
Technologiepark
IMEC audio labs

## Slide 16: PART 2 Practical stuff
Krook Labs
Bookings & CMS
Partners & arrangements: IDLab, IMEC, MICT
Lab Rules
Practicalities & Documentation

## Slide 17
Krook LABS & POI

## Slide 18: Locations: other levels
SHARED FABLAB

## Slide 19: Bookings & CMS
To reserve one of the labs, use IPEM CMS bookings
  https://intranet.flw.ugent.be/ipem/Lists/Bookings/calendar.aspx
  Use Ugent Login
  In case of no acces: mail Aagje Lachaert <Aagje.Lachaert@UGent.be>
Plan your experiment in “blocks
Important to do this well in advance!
For special requests (or IPEM Partners), mail (bart.moens@ugent.be).
  (2019) Shared CMS with IMEC, IDLab & IPEM
To reserve the meeting room of the Papegaai (-2): mail to Ann Wouters (Ann.Wouters@imec.be)

## Slide 20: Bookings & CMS
https://intranet.flw.ugent.be/ipem/Lists/Bookings/calendar.aspx

## Slide 21: Bookings & CMS
Best practice: be as complete as possible!
  Booking type = the lab(s)
  IPEM member = who to contact in case of trouble
  Reason = course, experiment, maintenance, etc
Also reserve for courses, demo’s, etc
Also reserve equipment (eg for remote setup) o

## Slide 22: Partnerships
Lab is shared among IPEM, IDLab & IMEC.
IPEM focusses on audio, IDLab on mocap/video/VR.
We share some infrastructure with IMEC
Current “agreements”:
  We can use the 3D IOSONO at any time. IMEC needs to reserve (entered in calendar) or call me in advance.
  IMEC & IPEM share the same network – mistakes can happen - be careful that you don’t change their settings
  IDLab doesn’t use the lab often but this will change. For now, when they need it and in case of conflict, they get priority (in reasonable terms).

## Slide 23: Lab Rules
Leave the lab clean (!)
Sort your garbage (paper, PMD & rest)
No food or drinks at the desks or sensitive equipment
Shut down equipment/power when leaving
Lab coats will become mandatory
More practical guidelines will follow...

## Slide 24: Practicalities & Documentation
Still searching the right layout of the lab for all equipment, feedback welcome!
Hoofd Patchpaneel
IN PRK
IN PRK
IN PRK
IN PRK
IN PRK
IN PRK
IN PRK
IN PRK
Stelling
Praktikabels
Storage -2
Machine room
Versterkers
Switch
Truss-sturing
Patchpaneel AMPS
Electriciteits
distributie
Link naar IMEC

## Slide 25: Practicalities & Documentation
Main source: https://github.com/ArtScienceLab (Lab Documentation)
Reservations: https://intranet.flw.ugent.be/ipem/Lists/Bookings/calendar.aspx
Troubles: bart.moens@ugent.be

## Slide 26: PART 3 Basic topics
Patching panels
KVM network
DANTE audio over IP
The RACK: “sensor & audio connections”
Motion capture system
Synchronisation
Storage & Data processing

## Slide 27: PART 3.1 PATCH PANELS

## Slide 28: Patching panels
Main infrastructure is located outside of the lab (in machineroom)
  Reduce heat and noise
  Better maintainability
  Security
  Fast reproducability of the experiments
“Minimalism” ideology:
  Computers upstairs, screens downstairs
  Short cables
How to connect to this equipment?

## Slide 29: Patching panels
Every setup in the lab starts with the main patching panels
Patching panel is a “block with different connectors”
  Power
  Network / Dante
  Synchronisation
  Realtime clocks
  Audio connections (for Maker Space & Pluriversum)
All patching panels are directly connected to the central machineroom
Patchers are labelled (patch name, connections...)
  note where you connected what for the recreation of a setup!
Currently: 5 patching points, extension to 20 in 2019

## Slide 30
ASIL PATCH 2
ASIL PATCH 1
PATCH
PATCH
PATCH
Patching panels

## Slide 31: Patch panels

## Slide 32: Patch panels

## Slide 33: PART 3.2: KVM
Remote connection to computers

## Slide 34: KVM infrastructure
KVM = Keyboard, video, mouse
Splitting “computer” and “control interface”
  Computers: in machineroom
  Screens: in the labs
Connected to each other over standard network

## Slide 35: KVM infrastructure
Computers available:
  “IDLAB Mocap”
  “MACHINEROOM ambisonics”
  “RACK PC” Sensor/ableton computer
  External laptop input
  Storage
  VR computers 1 – 3
Screens available:
  Big TV screen in the lab
  Big desk (2 computers at once)
  Small desk
  Remote desk at +4
  Projectors
Show any computer at any screen
Share screens: show one computer on multiple screens
Do data processing or preparation at the +4 desk
Extends over the 3 labs!
Hotkey: “CTRL – CTRL – O” to switch computers

## Slide 36: KVM: the mobile desks
Each desk connectable with only 2 cables to the patch panels
Big desk controls two pcs (two left screens + left kb/m); (single right screen + right kb/m)
Has two audio monitors to preview audio
Big desk has two drawers for notes and stuff

## Slide 37: KVM: the upstairs desk
Get your vitamine D4 while working

## Slide 38: KVM: the upstairs desk
Get your vitamine D4 while working

## Slide 39: Which computers for what?
IDLAB Mocap
“MACHINEROOM ambisonics”
  Audio applications (eg ambisonics)
  Secondary labs
“RACK PC” Sensor/ableton computer
  Main powerhose PC
  Recording audio, iosono, etc...
External laptop input
  Connecting your laptop to KVM screens
Storage
  Storing all data from other computers

## Slide 40: KVM infrastructure howto: using computers
TV screen & upstairs: turn on screens, select computer
Mobile desks:
  Connect power cable
  Connect ethernet cable (from front desk) to any patch panel ethernet
  Power on
  Select computer
Switch computers: press “CTRL CTRL O”

## Slide 41: KVM infrastructure howto: connecting laptop
Find the white small desk
Connect to patch panel (power & UTP)
Connect HDMI cable to laptop
If remote control from other locations is needed, connect USB cable
Connect dante USB for audio to the speakers
Select “external laptop in” on any screen

## Slide 42
IPEM lab (-2)
19” mobile rack
IPEM lab (-2)
IPEM server room (-1)
Audio Ableton Computer (1)
4x USB 3.1 midi/HID
Dual screen - 2x HD video DVI
4 x USB 2.0 (keyb, mouse, storage)
MOBILE DESK 1
Switch to either of the 6 inputs
Audio Ambisonics Computer (2)
Dual screen - 2x HD video DVI
4 x USB 2.0 (keyb, mouse, storage)
Mocap Computer (3)
Dual screen - 2x HD video DVI
4 x USB 2.0 (keyb, mouse, storage)
Storage Computer (4)
Single screen - 1x HD video DVI
4 x USB 2.0 (keyb, mouse, storage)
Video Computer (6)
Dual screen - 2x HD video DVI
4 x USB 2.0 (keyb, mouse, storage)
3 X Displayport/HDMI 1.4 out
4K resolution
VR Computer (5)
Dual screen - 2x HD video DVI
4 x USB 2.0 (keyb, mouse, storage)
Virtual Reality: 2880x1600, 90hz
Displayport >= 1.2; 1 USB 3.0
MOBILE DESK 2
Switch to either of the 6 inputs
Monitor station
(single screen)
Switch to either screen
IPEM offices (+4)
KVM DS
KVM DS
KVM SS
KVM SS
KVM DS
KVM DS
IP switch
CAT6 shielded
In zelfde rack
4K extender
4K extender
4K extender
One to One
3x CAT6 shielded
3 x 20m max
4K receiver
4K receiver
4K receiver
(DP/HDMI in) 4K beamer
(DP/HDMI in) 4K beamer
(DP/HDMI in) 4K beamer
Optional FIXED DESK
Switch to either of the 6 inputs
KVM DS
KVM DS
KVM SS
KVM DS
Internal IP infrastructure
Via Fiber & bestaande switches
(Optional) CAT6 shielded
Wall/Floor plug
Wall/Floor plug
Wall/Floor plug
Wall/Floor plug
Wall/Floor plug
Wall/Floor plug
Wall/Floor plug
Wall/Floor plug
Wall/Floor plug
Wall/Floor plug
Kinect V2
Arduino / Teensy
Soundcards
Webcams
10 x CAT6 shielded
40m max
KVM infrastructure schematic
KVM SS

## Slide 43: PART 3.3: DANTE Audio over IP
What is DANTE?
Why DANTE?
Using DANTE
Running Dante Controller
Running Dante Virtual Soundcard
Device naming in the lab
The power of DANTE: presets

## Slide 44: What is DANTE?
“Dante is a hardware and software solution that transports precisely timed digital audio between devices using standard IP networking”
  Dante = multichannel audio protocol over ethernet
  Dante is not “a device”! Its a way to bring audio from device A to B as fast & flexible as possible.
  Dante replaces classical XLR cabling
Created by Australian company Audinate
Requires mordern network infrastructure (CAT6); wifi is not supported to transfer audio

## Slide 45: Why DANTE?
64 speakers is not ‘easy’
Flexible, patchable, extensieve
1-cable installation
Agreed protocol in the Krook
  Direct audio connections & shared infrastrcutre
  Partners: IMEC – IPEM – URGENT
Future extensions over fiber to Vooruit, Wintercircus, Minard, ..
Krook = multimedia hub for cultural Ghent!

## Slide 46: What is DANTE?
What does Dante NOT do?
  Sample rate conversion (use 48khz)
  Level control (mind the volume)
  MIDI
  SMPTE time code
Downsides:
  Not open source: propriatary licences
  We can accidently mess up connected labs
  Learning curve!
  Do not expect Plug & Play for a 64 speaker system - although I try to make it as easy as possible
  Difficulties with linux

## Slide 47: DANTE Enabled devices
Devices can implement DANTE
  Amplifiers
  Speakers
  ADC’s
  DAC’s
  Mixers
  Soundcards
  PC’s
  ...
  All lab equipment

## Slide 48: Using Dante
Dante requires the “routing software”: a piece of software that decide which audio channels go where
“Dante controller” for windows & mac
Freely downloadable at https://www.audinate.com/products/software/dante-controller

## Slide 49: The Dante Matrix
Route audio singlas from transmitter to receiver
Transmitter = on top of the screen
Receiver = left on the screen
Click the interconnection to make the audio line (cfr connecting the cable)

## Slide 50: Using Dante
How to get sound out of your computer?
  Dante hardware ‘soundcard’: High perforamnce: dante-input card
    Latencies < 1ms
    Studio setup
    >1024 channels
    Enables connection to and from complete dante network!
    Present on both the RACK PC and AMBISONICS PC
  Dante virtual ‘soundcard’
    Downloadable software
    Enable dante on normal PC hardware
    Latencies > 4ms, < 10ms
    Max 64 channel
    Enables connection to and from complete dante network!
    Licences: mail me!

## Slide 51: Using Dante Virtual Soundcard (own pc)
Connect your computer to the lab network
Check in dante controller if devices appear
Start dante virtual soundcard
  On OSX this goes okay by default
  On windows you have 2 choices:
    WDM = windows sound (eg spotify -> speakers)
    ASIO = low latency audio for DAW applications
Make the required routing (eg to speakers)
  From any app (eg max, Ableton, ...)
Play!
MIND THE VOLUME! Start low. Thanks.

## Slide 52: Dante devices: naming conventions
ORGANISATION – LOCATION & WHAT
IPEM – AMP1 = First IPEM Amp
IPEM-MACHINEROOM-SYNCMASTER = masterclock in machineroom and also audio in out for pluriversum & maker space
IPEM-RACK-PC = pc in the rack (the dante soundcard)
IPEM-RACK-MICINPUTS = Microphone inputs in the rack
IPEM-RACK-ANALOG-IN-OUT = line in/out from the rack

## Slide 53: DANTE DEVICES

## Slide 54: Speaker numbering & AMPS
IPEM AMP 1
Speakers 1-8
Ceiling
IPEM AMP 2
Speakers 9-16
Entrance side RING
IPEM AMP 3
Speakers 17-24
URGENT side RING
IPEM AMP 4
Speakers 25-32
Entrance side
IPEM AMP 5
Speakers 33-40
Schermzijde
IPEM AMP 6
Speakers 41-48
URGENT side
IPEM AMP 7
Speakers 49-56
Regie-zijde
IPEM AMP 9
Speakers 59-62
Woofers
IPEM AMP 8
Speakers 57-58
TV Speakers

## Slide 55: Dante presets
Powerful tool for easy recreation of demo’s or experiments
Saves all audio routing throughout the network in 1 file
Can be recalled at any time to recreate the setup

## Slide 56: DANTE best practice : presets & storage!

## Slide 57: DANTE exercises
Play sounds to a specific speaker from the operating system
Play sounds to a specific speaker from a professional app (eg Ableton, max msp, etc)
Route a microphone to record on your PC

## Slide 58: Part 3.4: The Rack
The main central Audio component to connect audio, sensors & midi to

## Slide 59: “The Rack”: Why?
When everything is upstairs in machineroom, why the rack?
Problem: USB connections are not reliable over KVM network
Then, how to connect sensors and midi devices?
One pc (“RACK PC”) remains in the LAB
Basically, we want it to be close to the sensors
Connect to network => becomes available on the KVM & DANTE network

## Slide 60: The Rack: Why?
Only requires two cables to be functional:
  1X Ethernet
  1x power
  1X coax for sync (optional)
Sensors, mics etc need to be connected to this ‘rack’.
Experimental ‘connection hub’: setups can be recreated with a picture of these connections
Currently the big tower; in coming weeks a lower more transportable flightcase

## Slide 61: “The Rack”
1: Connect Power
Connect 1 ethernet
Cable to plug in wall
Connect 1 coax sync
cable
Then all other connections
become available for
Connecting sensors etc
PC screens & keyboard via KVM
Main audio HUB
Can be placed anywhere in the lab – ie close to the senors
Only ultra-silent components

## Slide 62
Controlling the PC
Via KVM:
Using mobile desk, connect power & ethernet (2 cables)
Place keyboard, mouse & screens anywhere else (even at +4!)
Distribute power
SYNC devices
Audio In/out
Sensors/midi USB 2.0 / 3.0 / 3.1 A/B gen1/2
DANTE devices, networked devices

## Slide 63: The Rack: how to use
Roll it close to the sensors
Connect the power cable to patch panel
Connect ethernet cable to Patch panel
Connect sync to patch panel
Power on
Boot computer & devices
Use any screen to login
All equipment becomes available on the dante network automatically

## Slide 64: PART 3.5: Synchronisation

## Slide 65: Syncing: why?
Typical scenario: audio recording + mocap + balance board + webcam
How to have the data “merged”?
  All sources should capture a sample at the same moment
  All sources should share one unique time stream (to align data)
  Avoid sources drifting away (different time scale)
Classical method: video clapper board to get ‘synced start’
Sync infrastructure in ASIL solves these problems,
New IPEM rule: we do it at 120 hz.

## Slide 66: Syncing: why (audio)?
Different audio devices’ clock drift away without sync infrastructure
After enabling our sync infrastructre

## Slide 67: Syncing: solution:
  Generate 1 shared clock (LTC & WORD) – then distribute.
  This infrastructure is always-on and standard connected to the mocap

## Slide 68: Synchronisation: the WORD clock
gives impules at what moment to capture a sample
  All sensors have a word clock in, so they know when to capturs, mocap does too
  The audio equipment does this 48.000 times per second
  We downscale to 120 times per second
  This is distributed throughout the patch panels
  When used correctly, all samples are taken within .1 millisecond!
  0 to 5V signal
  Transferred over BNC / COAX cables

## Slide 69: Synchronisation: LTC timecode (SMPTE)
Data is captured simultaneous, but how to align the different streams?
Solution: record in all different systems 1 shared time signal so you can align (manual or automatically) after recording ends
LTC is an audio signal which encodes a timecode, so matlab scripts can convert audio to “hours minutes seconds frame”
For audio/video recordings, record a channel with this timecode

## Slide 70: Syncing data: how to align
Qualisis Ableton (midi) Sensors

## Slide 71: How to connect the synchronisation
WORD: connect coax cable from patch panel to sensor
LTC (SMPTE):
  MAKER space & pluriversum: connect recording to LTC OUT on the patch panel
  ASIL: USE DANTE to route sync signal (from the syncmaster) to the recording
  TIMECODE is transmitted on the DANTE device SYNCMASTER on channel 16 (in)
  Demo how this sounds...
Paper in progress about this infrastructure
Later: do tank about syncing & processing (when storage functionality is up to date)

## Slide 72: Syncing: summary
Word clock is to capture at the same instant
LTC / SMPTE is to align data (transmitted on DANTE SYNCMASTER channel 16)
Both are required for sub-millisecond precise syncing.

## Slide 73
Nanosync
Master clock
serving as
Dante Clock
8 wordclock out
1 LTC out (SMPTE)
WORD 48khz
REDNET A8R
(Primary dante clock using external in)
AUDIO IN (XLR)
WORD CLOCK IN
AUDIO OUT (XLR)
WORD CLOCK OUT
NETWORK IO
DANTE SYNC Delays (1ms)
LTC
48Khz
LTC
48Khz
WORD 48khz
WORD
120 hz
Joren’s
WORD Clock divider
(/400)
Qualisis
Sync module
WORD CLOCK IN
1 LTC IN (SMPTE)
Sonifex Redbox
RB-DDA6W
6-Unit Wordclock Distribution Amplifier
WORD CLOCK IN
WORD CLOCK OUT
WORD CLOCK out
WORD
120 hz
ARTSCIENCE LAB
MACHINE ROOM
UTP Wall plug
Network switch
REDNET A8R
(Slaved device)
AUDIO OUT (XLR)
NETWORK IO
LTC 48Khz
Sonifex Redbox
RB-DDA6W
6-Unit Wordclock Distribution Amplifier
WORD CLOCK IN
6 x WORD CLOCK OUT
COAX Wall plug
WORD 120 hz
WORD 120 hz
WORD 120 hz
WORD 120 hz
WORD 120 hz
WORD 120 hz
AUDIO OUT (XLR)
(Up to 8 outs)
LTC 48Khz
MOBILE AUDIO RACK
DANTE
Ableton PC
Dante PCI card
(<1ms latency)
USB 2.0 Ports
USB 3.0 Ports
8 audio in
6 x USB 2.0
6x USB 3.0
LAB EQUIPMENT
Teensy
Arduino
Pressure sensors
Mats
Kinect
Camera’s
Lightsabers
USB Soundcards
MIDI devices
Music instruments
...
Syncing infrastructure
Short cables
Rack plug
Rack plug
Long cable
Long cable
8 x AUDIO IN/out
PATCH PANEL

## Slide 74: PART 3.6: Data management & storage

## Slide 75: Data management & storage
Work in progress!
Current idea:
  Local central high-speed server (remote disk on all ASIL infra)
  Offsite 1:1 backup
  All computers save data here
  Connectable from offices using UGHent account to process locally
  Connectable from internet to process at home
  Public repo for long term storage & data publication (for papers)
  Complient with new EU data manamgent policy

## Slide 76: Data management
Local data storage
Synchronisation
Data Capture
Audio PC
Projection/VR PC
Mocap PC
Mobile – Sensor capture
Nanosync
Master clock
serving as
Dante Clock
8 wordclock out
Master storage server
Following DWMA procedures
Remote data Storage / Backup
Storage server
AA Tower
Zwijnaarde
Following UGENT Data research management procedures
10 gbit/s
20 gbit/s
Internet
Remote limited acces

## Slide 77: Processing
Do tank later (with syncing)

## Slide 78: Current workarounds
System will be ready in coming months
No USB connection to computers – so how to get the data?
Use belnet filesender for high speed transfer over internet
  https://filesender.belnet.be/index.php?s=upload
  Service from universities
  Highspeed unlimited transfer
Backup: use wetransfer (sorry!) for small transfers

## Slide 79: PART 4 Basic usecases & practice
Presenting in the lab
Playing back audio
Make an audio recording
Transfer data to own computer
Switching computer screens or sharing
Playing the LTC clock on the speakers
Play sounds through the monitors of the desk
Synchronous mocap & audio recording